## RCS->MOMA-MW
MOMA-MW MODBUS Map
|  | Address |  | Target Function | Meaning | Read / Write | Remarks
|  | ID | Index
| Coil | 0 | 1 | Emg. stop | OFF -> ON : execute function | R/W | 비상 정지 (호출되면 하위 시스템들에게 모두 명령 전파)
|  | 0 | 2 | Reset | OFF -> ON : execute function | R/W | 애러 발생 시 리셋 기능
|  | 0 | 3 | Execute job | OFF -> ON : execute function | R/W | Job (Subjob) 실행 명령
|  | 0 | 4 | Cancel job | OFF -> ON : execute function | R/W | 실행중인 Job(Subjob) 취소 명령
|  | 0 | 5 | Pause job | OFF -> ON : execute function | R/W | 실행중인 Job(Subjob) 대기 명령
|  | 0 | 6 | Resume job | OFF -> ON : execute function | R/W | 대기중인 Job(Subjob) 재개 명령
|  | 0 | 7 | Retry_job | OFF -> ON : execute function | R/W | 실패했던 Job(Subjob) 재실행 명령
|  | 0 | 8 |  |  | R/W
|  | 0 | 9 |  |  | R/W
| Discrete Input | 1 | 101 | Ack. of Emg. stop | ON : Received cmd. and processing / OFF : Standbyand ready to receive cmd. | R
|  | 1 | 102 | Ack. of Reset | ON : Received cmd. and processing / OFF : Standbyand ready to receive cmd. | R | 리셋 수행 (RESET LIST 참조)
|  | 1 | 103 | Ack. of Execute job | ON : Received cmd. and processing / OFF : Standbyand ready to receive cmd. | R | 잡 수행 (JOB LIST 참조)
|  | 1 | 104 | Ack. of Cancel job | ON : Received cmd. and processing / OFF : Standbyand ready to receive cmd. | R
|  | 1 | 105 | Ack. of Pause job | ON : Received cmd. and processing / OFF : Standbyand ready to receive cmd. | R
|  | 1 | 106 | Ack. of Resume job | ON : Received cmd. and processing / OFF : Standbyand ready to receive cmd. | R
|  | 1 | 107 | Ack. of Retry job | ON : Received cmd. and processing / OFF : Standbyand ready to receive cmd. | R
|  | 1 | 108 |  |  | R
|  | 1 | 109 |  |  | R
|  | 1 | 10 | Job Completion | OFF -> ON : Job finished | R | Execute Job 에 대한 완료 비트
R
| Input Register | 3 | 201 |  | Same data will be written after chaing holding register (410001 ~ 410164) | R
|  | 3 | ~
|  | 3 | ~
|  | 3 | 264
|  | 3 | 501 | Result of Emg. |  | R
|  | 3 | 502 | Result of Reset |  | R
|  | 3 | 503 | Result of Execute job |  | R
|  | 3 | 504 | Result of Cancel job |  | R
|  | 3 | 505 | Result of Pause job |  | R
|  | 3 | 506 | Result of Resume job |  | R
|  | 3 | 507 | Result of Retry job |  | R
|  | 3 | ~ | -
|  | 3 | 1001 | Robot ID | 36 letters of ascii text (UUID) | R | 현재 로봇의 ID 값
|  | 3 | ~
|  | 3 | 1036
|  | 3 | 1037 | Robot status code | 1byte unsigned integer | R | 현재 로봇의 상태 (STATUS CODE 참조)
|  | 3 | 1038 | Execution result code | - | R | Job(Subjob) 관련 명령어에 대한 Result Code (STATUS CODE 참조)
|  | 3 | 1039 | Name of curent job (Up to 63 registers) | length of register for name | R | 현재 실행중인 job (subjob) 이름
|  | 3 | ~ |  | utf-8 encoded text
|  | 3 | 1102
|  | 3 | 1103 | Name of curent task(step) (Up to 63 registers) | length of register for name | R | 현재 실행중인 task (step) 의 이름
|  | 3 | ~ |  | utf-8 encoded text
|  | 3 | 1166
|  | 3 | 1167 | Number of remaining task | - | R
i |  | 3 | 1168 | Name of remaining tasks (Up to 3 Tasks from the head) | length of register for name | R
|  | 3 | ~ |  | utf-8 encoded text
|  | 3 | 1232
i |  | 3 | 1233 |  | length of register for name | R
|  | 3 | ~ |  | utf-8 encoded text
|  | 3 | 1297
|  | 3 | 1298 |  | length of register for name | R
|  | 3 | ~ |  | utf-8 encoded text
|  | 3 | 1362
|  | 3 | ~
|  | 3 | 2001 | Status of watchdog | 1byte unsigned integer | R | watchdog 상태 (STATUS CODE 참조)
|  | 3 | 2002 | Status of watchdog_detail | 1byte unsigned integer | R | watchdog 세부 상태 (STATUS CODE 참조)
|  | 3 | 2003 | Status of Universal Robots | 1byte unsigned integer | R | UR 로봇 세부 상태 (STATUS CODE 참조)
|  | 3 | 2004 | Status of Mir | 1byte unsigned integer | R | MiR 로봇 세부 상태 (STATUS CODE 참조)
|  | 3 | 3001 | - | String | R | version - Software version number, e.g. "5.13.0.11013" - M/W
|  | 3 | 4001 | - | String | R | version - Software version number, e.g. "5.13.0.11013" - UR
|  | 3 | 5101 | - | String | R | Software version - Robot software version. Each address represents one digit of the - MiR
|  | 3 | 5202 | - | int16 | R | Mode - The current mode of the robot. Refer to Code Definition for more information
|  | 3 | 5203 | - | int16 | R | State - The current state of the robot. Refer to Code Definition for more information
|  | 3 | 5204 | - | int16 | R | Error code - The last error registered on the robot. 0 if no errors were detected
|  | 3 | 5206 | - | int16 | R | Battery level - Remaining charge in percent [%]
|  | 3 | 5207 | - | int32 | R | Uptime - The robots uptime
ㅑ |  | 3 | 5209 | - | float32 | R | Distance Run - The total distance run by the robot
|  | 3 | 5211 | - | float32 | R | Position X - Position X in global coordinates
|  | 3 | 5213 | - | float32 | R | Position Y - Position Y in global coordinates
|  | 3 | 5215 | - | float32 | R | Position - Orientation of the robot in global
|  | 3 | 5216 | - | int16 | R | Orientation - coordinates [in degrees]
|  | 3 | 5217 | - | int16 | R | Length of mission queue - Number of missions pending or executing
|  | 3 | ~
|  | 3 | 9999
| Holding Register | 4 | 10001 | argument_1 | length of the argument (from 10003 ~ 10064) | R/W
|  | 4 | 10002 |  | type of the argument
|  | 4 | 10003 |  | argument data
|  | 4 | ~
|  | 4 | 10064
|  | 4 | 10065 | argument_2 | same structure to argument_1 | R/W
|  | 4 | 10129 | argument_3 | same structure to argument_1 | R/W
|  | 4 | 10193 | argument_4 | same structure to argument_1 | R/W
|  | 4 | 10257 | argument_5 | same structure to argument_1 | R/W
|  | 4 | ~
|  | 4 | 10320

## RESET LIST
RCS->MOMA-MW Reset List
Holding Register Address | 410001 | 410065 | 410129 | 410193 | 410257 | 역할
Job Code | argument_1 | argument_2 (0x0001~0x0009) | argument_3 0x0000~0x00xx | argument_4 0x0000~0x00xx | argument_5 0x0000~0x00xx
Softreset | 0x00 |  |  |  |  | FSM 리셋 (기존과 동일)
Force softreset | 0x01 |  |  |  |  | ERROR 상태가 아니여도 강제로 FSM 리셋 명령 수행
Hardreset | 0x02 |  |  |  |  | 미들웨어 소프트웨어 제시작
Reboot | 0x03 |  |  |  |  | 미들웨어 PC 재부팅

## SUBJOB LIST
RCS->MOMA-MW Subjob List
Holding Register Address | 410001 | 410065 | 410129 | 410193 | 410257 | 역할
Job Code | argument_1 | argument_2 (0x0001~0x0009) | argument_3 0x0000~0x00xx | argument_4 0x0000~0x00xx | argument_5 0x0000~0x00xx
AMRMoveTo | 0x001 | 목적지 Code (0x01 ~ 0x09) | 0x0000 | 0x0000 | 0x0000 | 목적지로 이동
AMRURBottleGet | 0x002 | 목적지 Code (0x01 ~ 0x09) | 설비 적재홀 위치 번호 (1~xx) | 로봇 적재홀 위치 번호 (1~xx) | 동작 타입 (0x00, 0x01) | 정해진 설비로 정해진 적재홀의 병을 정해진 로봇 적재홀로 이동
AMRURBottlePut | 0x003 | 목적지 Code (0x01 ~ 0x09) | 로봇 적재홀 위치 번호 (1~xx) | 설비 적재홀 위치 번호 (1~xx) | 동작 타입 (0x00, 0x01) | 정해진 로봇 적재홀의 병을 정해진 설비의 적재홀로 이동
목적지 Code |  |  | 동작 타입 Code
0x01 | 스토커 좌측 |  | 0x00 | MultiBottle 에 대해 장비 항상 Trigger (반입, 반출기, 폐기모사)
0x02 | 스토커 우측 |  | 0x01 | Multibottle 에 대해 장비 Trigger 안함 (스토커, 전처리기)
0x03 | 반출기
0x04 | 반입기
0x05 | 폐기모사 반입
0x06 | 폐기모사 반출
0x07 | 전처리기 (분석설비)
0x08 | 대기위치
0x09 | 충전위치

## STATUS CODES
MOMA-M/W STATUS CODE LIST
ADDRESS |  | MEANING | AVAILABLE CODES | REMAKRS
3 | 1037 | Robot Status | 0x01 | Start
|  |  | 0x02 | Initializing
|  |  | 0x03 | Ready
|  |  | 0x04 | Operating
|  |  | 0x05 | Pausing
|  |  | 0x06 | Paused
|  |  | 0x07 | Canceling
|  |  | 0x08 | Error
|  |  | 0x09 | Reseting
|  |  | 0x0A | Manual_Mode
|  |  | 0xFF | Critical
3 | 1038 | Result of Subjob execution | 0x00 | No_Error
|  |  | 0x01 | Cannot_Find_Available_Job_Recipe
|  |  | 0x02 | Cannot_Pulling_Task_List
|  |  | 0x03 | Job_Has_Been_Canceled
|  |  | 0x04 | Job_Has_Been_Paused
|  |  | 0x05 | Error_Has_Occured_During_Executing_Task
|  |  | 0x06 | Failed_To_Complete_The_Task
|  |  | 0x07 | Cannot_Find_Failed_Job_Information
|  |  | 0x08 | Cannot_Find_Paused_Job_Information
|  |  | 0x09 | Cannot_Get_Watchdog_Data
|  |  | 0x0A | Watchdog_Status_Is_In_Error
|  |  | 0xFF | Unknown_Error
3 | 2001 | Watchdog | 0x01 | Normal
|  |  | 0x02 | Warnning
|  |  | 0x03 | Error
3 | 2002 | Watchdog Detail | 0x01 | No_Error
|  |  | 0x02 | Computing_Resources_Are_Unstable
|  |  | 0x03 | Robot_Arm_Is_Not_Operatable
|  |  | 0x04 | Mobile_Robot_Is_Not_Operatable
3 | 2003 | UR | 0x01 | disconnected
|  |  | 0x02 | prepairing
|  |  | 0x03 | normal
|  |  | 0x04 | protective_stopped
|  |  | 0x05 | powered_off
3 | 2004 | MiR | 0x01 | normal
|  |  | 0x02 | Initializing
|  |  | 0x03 | Shutdown
|  |  | 0x04 | Ready
|  |  | 0x05 | Paused
|  |  | 0x06 | Running
|  |  | 0x07 | Failed
|  |  | 0x08 | Succeed
|  |  | 0x09 | Docked
|  |  | 0x0A | Docking
|  |  | 0x0B | Emg_Stopped
|  |  | 0x0C | Manual_Mode